{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":14,"n_cols":32,"rows_kept":14,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","ATXS-K / 2AMX-G"]
[]
[]
[]
[]
["","","","","ATXS20K2V1B / ATXS20K2V1B / 2AMX40G3V1B2","ATXS20K2V1B / ATXS20K2V1B / 2AMX40G3V1B","ATXS20K2V1B / ATXS25K2V1B / 2AMX40G3V1B2","ATXS20K2V1B / ATXS25K2V1B / 2AMX40G3V1B","ATXS20K2V1B / ATXS35K2V1B / 2AMX40G3V1B2","ATXS20K2V1B / ATXS35K2V1B / 2AMX40G3V1B","ATXS25K2V1B / ATXS25K2V1B / 2AMX40G3V1B2","ATXS25K2V1B / ATXS25K2V1B / 2AMX40G3V1B","ATXS25K2V1B / ATXS35K2V1B / 2AMX40G3V1B2","ATXS25K2V1B / ATXS35K2V1B / 2AMX40G3V1B","ATXS20K2V1B / ATXS20K2V1B / 2AMX50G3V1B2","ATXS20K2V1B / ATXS20K2V1B / 2AMX50G3V1B","ATXS20K2V1B / ATXS25K2V1B / 2AMX50G3V1B2","ATXS20K2V1B / ATXS25K2V1B / 2AMX50G3V1B","ATXS20K2V1B / ATXS35K2V1B / 2AMX50G3V1B2","ATXS20K2V1B / ATXS35K2V1B / 2AMX50G3V1B","ATXS20K2V1B / ATXS50K2V1B / 2AMX50G3V1B2","ATXS20K2V1B / ATXS50K2V1B / 2AMX50G3V1B","ATXS25K2V1B / ATXS25K2V1B / 2AMX50G3V1B2","ATXS25K2V1B / ATXS25K2V1B / 2AMX50G3V1B","ATXS25K2V1B / ATXS35K2V1B / 2AMX50G3V1B2","ATXS25K2V1B / ATXS35K2V1B / 2AMX50G3V1B","ATXS25K2V1B / ATXS50K2V1B / 2AMX50G3V1B2","ATXS25K2V1B / ATXS50K2V1B / 2AMX50G3V1B","ATXS35K2V1B / ATXS35K2V1B / 2AMX50G3V1B2","ATXS35K2V1B / ATXS35K2V1B / 2AMX50G3V1B","ATXS35K2V1B / ATXS50K2V1B / 2AMX50G3V1B2","ATXS35K2V1B / ATXS50K2V1B / 2AMX50G3V1B"]
["Space cooling","SEER","","","6.38","6.38","6.26","6.26","6.50","6.50","6.26","6.26","6.49","6.49","6.55","6.55","6.53","6.53","6.51","6.51","6.50","6.50","6.39","6.39","6.48","6.48","6.48","6.48","6.55","6.55","6.54","6.54"]
["","Annual energy consumption","","kWh/a","220","220","224","224","216","216","224","224","216","216","214","214","242","242","269","269","270","270","274","274","270","270","271","271","268","268","268","268"]
["","Capacity","Pdesign","kW","4.00","4.00","4.00","4.00","4.00","4.00","4.00","4.00","4.00","4.00","4.00","4.00","4.50","4.50","5.00","5.00","5.00","5.00","5.00","5.00","5.00","5.00","5.00","5.00","5.00","5.00","5.00","5.00"]
["","Energy efficiency class","","","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++"]
["Space heating (Average climate)","Capacity","Pdesign","kW","2.99","2.99","2.99","2.99","2.96","2.96","3.00","3.00","2.96","2.96","3.97","3.97","3.97","3.97","4.28","4.28","4.42","4.42","4.25","4.25","4.41","4.41","4.42","4.42","4.43","4.43","4.45","4.45"]
["","SCOP/A","","","4.15","4.15","4.16","4.16","4.14","4.14","4.16","4.16","4.15","4.15","4.12","4.12","4.12","4.12","4.14","4.14","4.11","4.11","4.10","4.10","4.09","4.09","4.10","4.10","4.17","4.17","4.17","4.17"]
["","Energy efficiency class","","","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+"]
["","Annual energy consumption","","kWh/a","1,009","1,009","1,006","1,006","1,001","1,001","1,009","1,009","999","999","1,351","1,351","1,351","1,351","1,448","1,448","1,505","1,505","1,452","1,452","1,510","1,510","1,510","1,510","1,489","1,489","1,494","1,494"]