{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":13,"n_cols":40,"rows_kept":13,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","EKHBH-BB / ERHQ-BV3"]
[]
[]
[]
[]
["","","","","EKHBH008BB3V3 / ERHQ006BAV3","EKHBH008BB6T1 / ERHQ006BAV3","EKHBH008BB6V3 / ERHQ006BAV3","EKHBH008BB6WN / ERHQ006BAV3","EKHBH008BB9T1 / ERHQ006BAV3","EKHBH008BB9WN / ERHQ006BAV3","EKHBH008BB3V3 / ERHQ007BAV3","EKHBH008BB6T1 / ERHQ007BAV3","EKHBH008BB6V3 / ERHQ007BAV3","EKHBH008BB6WN / ERHQ007BAV3","EKHBH008BB9T1 / ERHQ007BAV3","EKHBH008BB9WN / ERHQ007BAV3","EKHBH008BB3V3 / ERHQ008BAV3","EKHBH008BB6T1 / ERHQ008BAV3","EKHBH008BB6V3 / ERHQ008BAV3","EKHBH008BB6WN / ERHQ008BAV3","EKHBH008BB9T1 / ERHQ008BAV3","EKHBH008BB9WN / ERHQ008BAV3","EKHBH016BB3V3 / ERHQ011BAV3","EKHBH016BB6T1 / ERHQ011BAV3","EKHBH016BB6V3 / ERHQ011BAV3","EKHBH016BB6WN / ERHQ011BAV3","EKHBH016BB9T1 / ERHQ011BAV3","EKHBH016BB9WN / ERHQ011BAV3","EKHBH016BB3V3 / ERHQ014BAV3","EKHBH016BB6T1 / ERHQ014BAV3","EKHBH016BB6V3 / ERHQ014BAV3","EKHBH016BB6WN / ERHQ014BAV3","EKHBH016BB9T1 / ERHQ014BAV3","EKHBH016BB9WN / ERHQ014BAV3","EKHBH016BB3V3 / ERHQ016BAV3","EKHBH016BB6T1 / ERHQ016BAV3","EKHBH016BB6V3 / ERHQ016BAV3","EKHBH016BB6WN / ERHQ016BAV3","EKHBH016BB9T1 / ERHQ016BAV3","EKHBH016BB9WN / ERHQ016BAV3"]
["COP","","","","4.56 (1), 3.18 (2)","4.56 (1), 3.18 (2)","4.56 (1), 3.18 (2)","4.56 (1), 3.18 (2)","4.56 (1), 3.18 (2)","4.56 (1), 3.18 (2)","4.34 (1), 3.13 (2)","4.34 (1), 3.13 (2)","4.34 (1), 3.13 (2)","4.34 (1), 3.13 (2)","4.34 (1), 3.13 (2)","4.34 (1), 3.13 (2)","4.05 (1), 3.00 (2)","4.05 (1), 3.00 (2)","4.05 (1), 3.00 (2)","4.05 (1), 3.00 (2)","4.05 (1), 3.00 (2)","4.05 (1), 3.00 (2)","4.55 (1), 3.37 (2)","4.55 (1), 3.37 (2)","4.55 (1), 3.37 (2)","4.55 (1), 3.37 (2)","4.55 (1), 3.37 (2)","4.55 (1), 3.37 (2)","4.42 (1), 3.38 (2)","4.42 (1), 3.38 (2)","4.42 (1), 3.38 (2)","4.42 (1), 3.38 (2)","4.42 (1), 3.38 (2)","4.42 (1), 3.38 (2)","4.18 (1), 3.26 (2)","4.18 (1), 3.26 (2)","4.18 (1), 3.26 (2)","4.18 (1), 3.26 (2)","4.18 (1), 3.26 (2)","4.18 (1), 3.26 (2)"]
["Heating capacity","Nom.","","kW","5.75 (1), 5.03 (2)","5.75 (1), 5.03 (2)","5.75 (1), 5.03 (2)","5.75 (1), 5.03 (2)","5.75 (1), 5.03 (2)","5.75 (1), 5.03 (2)","6.84 (1), 6.10 (2)","6.84 (1), 6.10 (2)","6.84 (1), 6.10 (2)","6.84 (1), 6.10 (2)","6.84 (1), 6.10 (2)","6.84 (1), 6.10 (2)","8.43 (1), 7.64 (2)","8.43 (1), 7.64 (2)","8.43 (1), 7.64 (2)","8.43 (1), 7.64 (2)","8.43 (1), 7.64 (2)","8.43 (1), 7.64 (2)","11.2 (1), 10.3 (2)","11.2 (1), 10.3 (2)","11.2 (1), 10.3 (2)","11.2 (1), 10.3 (2)","11.2 (1), 10.3 (2)","11.2 (1), 10.3 (2)","14.0 (1), 13.1 (2)","14.0 (1), 13.1 (2)","14.0 (1), 13.1 (2)","14.0 (1), 13.1 (2)","14.0 (1), 13.1 (2)","14.0 (1), 13.1 (2)","16.0 (1), 15.2 (2)","16.0 (1), 15.2 (2)","16.0 (1), 15.2 (2)","16.0 (1), 15.2 (2)","16.0 (1), 15.2 (2)","16.0 (1), 15.2 (2)"]
["","Min.","","kW","4.36 (1), 3.87 (2)","4.36 (1), 3.87 (2)","4.36 (1), 3.87 (2)","4.36 (1), 3.87 (2)","4.36 (1), 3.87 (2)","4.36 (1), 3.87 (2)","4.36 (1), 3.87 (2)","4.36 (1), 3.87 (2)","4.36 (1), 3.87 (2)","4.36 (1), 3.87 (2)","4.36 (1), 3.87 (2)","4.36 (1), 3.87 (2)","4.36 (1), 3.87 (2)","4.36 (1), 3.87 (2)","4.36 (1), 3.87 (2)","4.36 (1), 3.87 (2)","4.36 (1), 3.87 (2)","4.36 (1), 3.87 (2)"]
["","Max.","","kW","7.45 (1), 6.68 (2)","7.45 (1), 6.68 (2)","7.45 (1), 6.68 (2)","7.45 (1), 6.68 (2)","7.45 (1), 6.68 (2)","7.45 (1), 6.68 (2)","8.79 (1), 7.98 (2)","8.79 (1), 7.98 (2)","8.79 (1), 7.98 (2)","8.79 (1), 7.98 (2)","8.79 (1), 7.98 (2)","8.79 (1), 7.98 (2)","9.58 (1), 8.76 (2)","9.58 (1), 8.76 (2)","9.58 (1), 8.76 (2)","9.58 (1), 8.76 (2)","9.58 (1), 8.76 (2)","9.58 (1), 8.76 (2)"]
["Power input","Heating","Nom.","kW","1.26 (1), 1.58 (2)","1.26 (1), 1.58 (2)","1.26 (1), 1.58 (2)","1.26 (1), 1.58 (2)","1.26 (1), 1.58 (2)","1.26 (1), 1.58 (2)","1.58 (1), 1.95 (2)","1.58 (1), 1.95 (2)","1.58 (1), 1.95 (2)","1.58 (1), 1.95 (2)","1.58 (1), 1.95 (2)","1.58 (1), 1.95 (2)","2.08 (1), 2.54 (2)","2.08 (1), 2.54 (2)","2.08 (1), 2.54 (2)","2.08 (1), 2.54 (2)","2.08 (1), 2.54 (2)","2.08 (1), 2.54 (2)","2.46 (1), 3.06 (2)","2.46 (1), 3.06 (2)","2.46 (1), 3.06 (2)","2.46 (1), 3.06 (2)","2.46 (1), 3.06 (2)","2.46 (1), 3.06 (2)","3.17 (1), 3.88 (2)","3.17 (1), 3.88 (2)","3.17 (1), 3.88 (2)","3.17 (1), 3.88 (2)","3.17 (1), 3.88 (2)","3.17 (1), 3.88 (2)","3.83 (1), 4.66 (2)","3.83 (1), 4.66 (2)","3.83 (1), 4.66 (2)","3.83 (1), 4.66 (2)","3.83 (1), 4.66 (2)","3.83 (1), 4.66 (2)"]
["Notes","","","","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)","(1) - Condition: Ta DB/WB 7°C/6°C - LWC 35°C (DT = 5°C)"]
["","","","","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)","(2) - Condition: Ta DB/WB 7°C/6°C - LWC 45°C (Dt=5°C)"]