{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":46,"n_cols":17,"rows_kept":46,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","EKHBX-B"]
[]
[]
[]
[]
["","","","","","EKHBX008BA3V3","EKHBX008BA6T1","EKHBX008BA6V3","EKHBX008BA9T1","EKHBX008BA9WN","EKHBX008BA6WN","EKHBX016BA3V3","EKHBX016BA6T1","EKHBX016BA6V3","EKHBX016BA6WN","EKHBX016BA9WN","EKHBX016BA9T1"]
["Sound pressure level","Medium speed","","0 ESP","dBA","28 (10)","28 (10)","28 (10)","28 (10)","28 (10)","28 (10)","28","28","28","28","28","28"]
["Operation range","Cooling","Water side","Max.","°C","22","22","22","22","22","22","22","22","22","22","22","22"]
["","","","Min.","°C","5","5","5","5","5","5","5","5","5","5","5","5"]
["","Heating","Water side","Max.","°C","50 (12)","50 (12)","50 (12)","50 (12)","50 (12)","50 (12)","55 (18)","55 (18)","55 (18)","55 (18)","55 (18)","55 (18)"]
["","","","Min.","°C","15 (12)","15 (12)","15 (12)","15 (12)","15 (12)","15 (12)","15 (18)","15 (18)","15 (18)","15 (18)","15 (18)","15 (18)"]
["Sound power level","Medium speed","","0 ESP","dBA","42 (15)","42 (15)","42 (15)","42 (15)","42 (15)","42 (15)","46","46","46","46","46","46"]
["Dimensions","Unit","","Width","mm","502","502","502","502","502","502","502","502","502","502","502","502"]
["","","","Depth","mm","361","361","361","361","361","361","361","361","361","361","361","361"]
["","","","Height","mm","922","922","922","922","922","922","922","922","922","922","922","922"]
["Casing","Material","","","","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel"]
["","Colour","","","","RAL9010","RAL9010","RAL9010","RAL9010","RAL9010","RAL9010","RAL9010","RAL9010","RAL9010","RAL9010","RAL9010","RAL9010"]
["Weight","Unit","","","kg","46","46","46","46","46","46","48","48","48","48","48","48"]
["Electric heater","Current back-up heater","","Running current","A","13","15.1","26","22.6","13","8.7","13","15.1","26","8.7","13","22.6"]
["","Power supply","","Frequency","Hz","50","50","50","50","50","50","50","50","50","50","50","50"]
["","","","Voltage","V","230","230","230","230","400","400","230","230","230","400","400","230"]
["","","","Phase","","1~","3~","1~","3~","3~","3~","1~","3~","1~","3~","3~","3~"]
["Notes","","","","","(1) - In combination with ERHQ006BAV3","(1) - In combination with ERHQ006BAV3","(1) - In combination with ERHQ006BAV3","(1) - In combination with ERHQ006BAV3","(1) - In combination with ERHQ006BAV3","(1) - In combination with ERHQ006BAV3","(1) - In combination with ERHQ011BAV3","(1) - In combination with ERHQ011BAV3","(1) - In combination with ERHQ011BAV3","(1) - In combination with ERHQ011BAV3","(1) - In combination with ERHQ011BAV3","(1) - In combination with ERHQ011BAV3"]
["","","","","","(2) - In combination with ERLQ006BAV3","(2) - In combination with ERLQ006BAV3","(2) - In combination with ERLQ006BAV3","(2) - In combination with ERLQ006BAV3","(2) - In combination with ERLQ006BAV3","(2) - In combination with ERLQ006BAV3","(2) - In combination with ERLQ011BAV3","(2) - In combination with ERLQ011BAV3","(2) - In combination with ERLQ011BAV3","(2) - In combination with ERLQ011BAV3","(2) - In combination with ERLQ011BAV3","(2) - In combination with ERLQ011BAV3"]
["","","","","","(3) - In combination with ERHQ007BAV3","(3) - In combination with ERHQ007BAV3","(3) - In combination with ERHQ007BAV3","(3) - In combination with ERHQ007BAV3","(3) - In combination with ERHQ007BAV3","(3) - In combination with ERHQ007BAV3","(3) - In combination with ERHQ011BAW1","(3) - In combination with ERHQ011BAW1","(3) - In combination with ERHQ011BAW1","(3) - In combination with ERHQ011BAW1","(3) - In combination with ERHQ011BAW1","(3) - In combination with ERHQ011BAW1"]
["","","","","","(4) - In combination with ERLQ007BAV3","(4) - In combination with ERLQ007BAV3","(4) - In combination with ERLQ007BAV3","(4) - In combination with ERLQ007BAV3","(4) - In combination with ERLQ007BAV3","(4) - In combination with ERLQ007BAV3","(4) - In combination with ERLQ011BAW1","(4) - In combination with ERLQ011BAW1","(4) - In combination with ERLQ011BAW1","(4) - In combination with ERLQ011BAW1","(4) - In combination with ERLQ011BAW1","(4) - In combination with ERLQ011BAW1"]
["","","","","","(5) - In combination with ERHQ008BAV3","(5) - In combination with ERHQ008BAV3","(5) - In combination with ERHQ008BAV3","(5) - In combination with ERHQ008BAV3","(5) - In combination with ERHQ008BAV3","(5) - In combination with ERHQ008BAV3","(5) - In combination with ERHQ014BAV3","(5) - In combination with ERHQ014BAV3","(5) - In combination with ERHQ014BAV3","(5) - In combination with ERHQ014BAV3","(5) - In combination with ERHQ014BAV3","(5) - In combination with ERHQ014BAV3"]
["","","","","","(6) - In combination with ERLQ008BAV3","(6) - In combination with ERLQ008BAV3","(6) - In combination with ERLQ008BAV3","(6) - In combination with ERLQ008BAV3","(6) - In combination with ERLQ008BAV3","(6) - In combination with ERLQ008BAV3","(6) - In combination with ERLQ014BAV3","(6) - In combination with ERLQ014BAV3","(6) - In combination with ERLQ014BAV3","(6) - In combination with ERLQ014BAV3","(6) - In combination with ERLQ014BAV3","(6) - In combination with ERLQ014BAV3"]
["","","","","","(7) - With option kit EKHBDP installed: Height = 936mm","(7) - With option kit EKHBDP installed: Height = 936mm","(7) - With option kit EKHBDP installed: Height = 936mm","(7) - With option kit EKHBDP installed: Height = 936mm","(7) - With option kit EKHBDP installed: Height = 936mm","(7) - With option kit EKHBDP installed: Height = 936mm","(7) - In combination with ERHQ014BAW1","(7) - In combination with ERHQ014BAW1","(7) - In combination with ERHQ014BAW1","(7) - In combination with ERHQ014BAW1","(7) - In combination with ERHQ014BAW1","(7) - In combination with ERHQ014BAW1"]
["","","","","","(8) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C)","(8) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C)","(8) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C)","(8) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C)","(8) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C)","(8) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C)","(8) - In combination with ERLQ014BAW1","(8) - In combination with ERLQ014BAW1","(8) - In combination with ERLQ014BAW1","(8) - In combination with ERLQ014BAW1","(8) - In combination with ERLQ014BAW1","(8) - In combination with ERLQ014BAW1"]
["","","","","","(9) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C)","(9) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C)","(9) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C)","(9) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C)","(9) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C)","(9) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C)","(9) - In combination with ERHQ016BAV3","(9) - In combination with ERHQ016BAV3","(9) - In combination with ERHQ016BAV3","(9) - In combination with ERHQ016BAV3","(9) - In combination with ERHQ016BAV3","(9) - In combination with ERHQ016BAV3"]
["","","","","","(10) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(10) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(10) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(10) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(10) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(10) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(10) - In combination with ERLQ016BAV3","(10) - In combination with ERLQ016BAV3","(10) - In combination with ERLQ016BAV3","(10) - In combination with ERLQ016BAV3","(10) - In combination with ERLQ016BAV3","(10) - In combination with ERLQ016BAV3"]
["","","","","","(11) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(11) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(11) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(11) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(11) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(11) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(11) - In combination with ERHQ016BAW1","(11) - In combination with ERHQ016BAW1","(11) - In combination with ERHQ016BAW1","(11) - In combination with ERHQ016BAW1","(11) - In combination with ERHQ016BAW1","(11) - In combination with ERHQ016BAW1"]
["","","","","","(12) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(12) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(12) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(12) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(12) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(12) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(12) - In combination with ERLQ016BAW1","(12) - In combination with ERLQ016BAW1","(12) - In combination with ERLQ016BAW1","(12) - In combination with ERLQ016BAW1","(12) - In combination with ERLQ016BAW1","(12) - In combination with ERLQ016BAW1"]
["","","","","","(13) - Including piping + PHE + back-up heater; excluding expansion vessel","(13) - Including piping + PHE + back-up heater; excluding expansion vessel","(13) - Including piping + PHE + back-up heater; excluding expansion vessel","(13) - Including piping + PHE + back-up heater; excluding expansion vessel","(13) - Including piping + PHE + back-up heater; excluding expansion vessel","(13) - Including piping + PHE + back-up heater; excluding expansion vessel","(13) - With option kit EKHBDP installed: Height = 936mm","(13) - With option kit EKHBDP installed: Height = 936mm","(13) - With option kit EKHBDP installed: Height = 936mm","(13) - With option kit EKHBDP installed: Height = 936mm","(13) - With option kit EKHBDP installed: Height = 936mm","(13) - With option kit EKHBDP installed: Height = 936mm"]
["","","","","","(14) - Water circuit piping connections: value mentioned is connection after ball valves. Connection at unit is G1 1/2 female.","(14) - Water circuit piping connections: value mentioned is connection after ball valves. Connection at unit is G1 1/2 female.","(14) - Water circuit piping connections: value mentioned is connection after ball valves. Connection at unit is G1 1/2 female.","(14) - Water circuit piping connections: value mentioned is connection after ball valves. Connection at unit is G1 1/2 female.","(14) - Water circuit piping connections: value mentioned is connection after ball valves. Connection at unit is G1 1/2 female.","(14) - Water circuit piping connections: value mentioned is connection after ball valves. Connection at unit is G1 1/2 female.","(14) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C) at high speed","(14) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C) at high speed","(14) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C) at high speed","(14) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C) at high speed","(14) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C) at high speed","(14) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C) at high speed"]
["","","","","","(15) - DB/WB 7°C/6°C - LWC 35°C (DT=5°C), medium pump speed","(15) - DB/WB 7°C/6°C - LWC 35°C (DT=5°C), medium pump speed","(15) - DB/WB 7°C/6°C - LWC 35°C (DT=5°C), medium pump speed","(15) - DB/WB 7°C/6°C - LWC 35°C (DT=5°C), medium pump speed","(15) - DB/WB 7°C/6°C - LWC 35°C (DT=5°C), medium pump speed","(15) - DB/WB 7°C/6°C - LWC 35°C (DT=5°C), medium pump speed","(15) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C) at high speed","(15) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C) at high speed","(15) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C) at high speed","(15) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C) at high speed","(15) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C) at high speed","(15) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C) at high speed"]
["","","","","","(16) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(16) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(16) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(16) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(16) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(16) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(16) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(16) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(16) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(16) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(16) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(16) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment."]
["","","","","","(17) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(17) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(17) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(17) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(17) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(17) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(17) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(17) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(17) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(17) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(17) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(17) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow"]
["","","","","","(18) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(18) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(18) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(18) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(18) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(18) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(18) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(18) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(18) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(18) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(18) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(18) - 15°C-25°C: BUH only, no heat pump operation = during commissioning"]
["","","","","","(19) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(19) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(19) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(19) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(19) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(19) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(19) - Including piping + PHE + back-up heater; excluding expansion vessel","(19) - Including piping + PHE + back-up heater; excluding expansion vessel","(19) - Including piping + PHE + back-up heater; excluding expansion vessel","(19) - Including piping + PHE + back-up heater; excluding expansion vessel","(19) - Including piping + PHE + back-up heater; excluding expansion vessel","(19) - Including piping + PHE + back-up heater; excluding expansion vessel"]
["","","","","","(20) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(20) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(20) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(20) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(20) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(20) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(20) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(20) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(20) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(20) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(20) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(20) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply."]
["","","","","","","","","","","","(21) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(21) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(21) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(21) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(21) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(21) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step."]
["","","","","","","","","","","","(22) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(22) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(22) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(22) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(22) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(22) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax"]
["","","","","","","","","","","","(23) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(23) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(23) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(23) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(23) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(23) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase"]
["","","","","","","","","","","","(24) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(24) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(24) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(24) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(24) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(24) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A"]