{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":44,"n_cols":17,"rows_kept":44,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","EKHBX-BB"]
[]
[]
[]
[]
["","","","","","EKHBX008BB3V3S","EKHBX008BB3V3","EKHBX008BB6T1","EKHBX008BB6V3","EKHBX008BB6WN","EKHBX008BB9WN","EKHBX016BB3V3S","EKHBX016BB3V3","EKHBX016BB6T1","EKHBX016BB6V3","EKHBX016BB6WN","EKHBX016BB9WN"]
["Sound pressure level","Medium speed","","0 ESP","dBA","","28","28","28","28","28","","28","28","28","28","28"]
["Water side Heat exchanger","Water flow rate","Cooling","Max.","l/min","","41.7","41.7","41.7","41.7","41.7","","58","58","58","58","58"]
["","","Heating","Max.","l/min","","41.7","41.7","41.7","41.7","41.7","","58","58","58","58","58"]
["Operation range","Cooling","Ambient","Min.","°CDB","10","10","10","10","10","10","10","10","10","10","10","10"]
["","","Water side","Max.","°C","22","22","22","22","22","22","22","22","22","22","22","22"]
["","","","Min.","°C","5","5","5","5","5","5","5","5","5","5","5","5"]
["","Heating","Water side","Max.","°C","50 (6)","50 (6)","50 (6)","50 (6)","50 (6)","50 (6)","55 (8)","55 (8)","55 (8)","55 (8)","55 (8)","55 (8)"]
["","","","Min.","°C","15 (6)","15 (6)","15 (6)","15 (6)","15 (6)","15 (6)","15 (8)","15 (8)","15 (8)","15 (8)","15 (8)","15 (8)"]
["Sound power level","Medium speed","","0 ESP","dBA","","42 (9)","42 (9)","42 (9)","42 (9)","42 (9)","","46","46","46","46","46"]
["Dimensions","Unit","","Width","mm","502","502","502","502","502","502","502","502","502","502","502","502"]
["","","","Depth","mm","361","361","361","361","361","361","361","361","361","361","361","361"]
["","","","Height","mm","922","922","922","922","922","922","922","922","922","922","922","922"]
["Casing","Material","","","","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel","Epoxy polyester painted galvanised steel"]
["","Colour","","","","RAL9010","RAL9010","RAL9010","RAL9010","RAL9010","RAL9010","RAL9010","RAL9010","RAL9010","RAL9010","RAL9010","RAL9010"]
["Weight","Unit","","","kg","46","46","46","46","46","46","48","48","48","48","48","48"]
["PED","Category","","","","Art3§3","Art3§3","Art3§3","Art3§3","Art3§3","Art3§3","Art3§3","Art3§3","Art3§3","Art3§3","Art3§3","Art3§3"]
["Wiring connections","For power supply connection to optional *KHW* model + Q2L","","Remark","","Select diameter and type according to national and local regulations, For more details of the voltage range and current refer to installation manual","Select diameter and type according to national and local regulations, For more details of the voltage range and current refer to installation manual","Select diameter and type according to national and local regulations, For more details of the voltage range and current refer to installation manual","Select diameter and type according to national and local regulations, For more details of the voltage range and current refer to installation manual","Select diameter and type according to national and local regulations, For more details of the voltage range and current refer to installation manual","Select diameter and type according to national and local regulations, For more details of the voltage range and current refer to installation manual","Select diameter and type according to national and local regulations, For more details of the voltage range and current refer to installation manual","Select diameter and type according to national and local regulations, For more details of the voltage range and current refer to installation manual","Select diameter and type according to national and local regulations, For more details of the voltage range and current refer to installation manual","Select diameter and type according to national and local regulations, For more details of the voltage range and current refer to installation manual","Select diameter and type according to national and local regulations, For more details of the voltage range and current refer to installation manual","Select diameter and type according to national and local regulations, For more details of the voltage range and current refer to installation manual"]
["","","","Määrä","","3G","3G","3G","3G","3G","3G","3G","3G","3G","3G","3G","3G"]
["Electric heater","Current back-up heater","","Running current","A","13","13","15.1","26","8.7","13","13","13","15.1","26","8.7","13"]
["","Power supply","","Frequency","Hz","50","50","50","50","50","50","50","50","50","50","50","50"]
["","","","Voltage","V","230","230","230","230","400","400","230","230","230","230","400","400"]
["","","","Phase","","1~","1~","3~","1~","3~","3~","1~","1~","3~","1~","3~","3~"]
["Notes","","","","","(1) - With option kit EKHBDP installed: Height = 936mm","(1) - With option kit EKHBDP installed: Height = 936mm","(1) - With option kit EKHBDP installed: Height = 936mm","(1) - With option kit EKHBDP installed: Height = 936mm","(1) - With option kit EKHBDP installed: Height = 936mm","(1) - With option kit EKHBDP installed: Height = 936mm","(1) - In combination with ERHQ single phase outdoor unit","(1) - In combination with ERHQ single phase outdoor unit","(1) - In combination with ERHQ single phase outdoor unit","(1) - In combination with ERHQ single phase outdoor unit","(1) - In combination with ERHQ single phase outdoor unit","(1) - In combination with ERHQ single phase outdoor unit"]
["","","","","","(2) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C)","(2) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C)","(2) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C)","(2) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C)","(2) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C)","(2) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C)","(2) - In combination with ERHQ three phase or ERLQ outdoor unit","(2) - In combination with ERHQ three phase or ERLQ outdoor unit","(2) - In combination with ERHQ three phase or ERLQ outdoor unit","(2) - In combination with ERHQ three phase or ERLQ outdoor unit","(2) - In combination with ERHQ three phase or ERLQ outdoor unit","(2) - In combination with ERHQ three phase or ERLQ outdoor unit"]
["","","","","","(3) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C)","(3) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C)","(3) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C)","(3) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C)","(3) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C)","(3) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C)","(3) - With option kit EKHBDP installed: Height = 936mm","(3) - With option kit EKHBDP installed: Height = 936mm","(3) - With option kit EKHBDP installed: Height = 936mm","(3) - With option kit EKHBDP installed: Height = 936mm","(3) - With option kit EKHBDP installed: Height = 936mm","(3) - With option kit EKHBDP installed: Height = 936mm"]
["","","","","","(4) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(4) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(4) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(4) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(4) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(4) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(4) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C) at high speed","(4) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C) at high speed","(4) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C) at high speed","(4) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C) at high speed","(4) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C) at high speed","(4) - Water flow rate cooling: Tamb 35°C - LWE 7°C (Dt=5°C) at high speed"]
["","","","","","(5) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(5) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(5) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(5) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(5) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(5) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(5) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C) at high speed","(5) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C) at high speed","(5) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C) at high speed","(5) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C) at high speed","(5) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C) at high speed","(5) - Water flow rate heating: DB/WB 7°C/6°C - LWC 35°C (Dt=5°C) at high speed"]
["","","","","","(6) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(6) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(6) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(6) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(6) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(6) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(6) - The sound pressure level is measured in an anechoic room at 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(6) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(6) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(6) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(6) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment.","(6) - The sound pressure level is measured via a microphone at a 1m distance from the unit. It is a relative value, depending on the distance and acoustic environment."]
["","","","","","(7) - Including piping + PHE + back-up heater; excluding expansion vessel","(7) - Including piping + PHE + back-up heater; excluding expansion vessel","(7) - Including piping + PHE + back-up heater; excluding expansion vessel","(7) - Including piping + PHE + back-up heater; excluding expansion vessel","(7) - Including piping + PHE + back-up heater; excluding expansion vessel","(7) - Including piping + PHE + back-up heater; excluding expansion vessel","(7) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(7) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(7) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(7) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(7) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow","(7) - The sound pressure level mentioned is valid for pump medium speed - 0 ESP / medium speed - nominal flow / high speed - nominal flow"]
["","","","","","(8) - Water circuit piping connections: value mentioned is connection after ball valves. Connection at unit is G1 1/2 female.","(8) - Water circuit piping connections: value mentioned is connection after ball valves. Connection at unit is G1 1/2 female.","(8) - Water circuit piping connections: value mentioned is connection after ball valves. Connection at unit is G1 1/2 female.","(8) - Water circuit piping connections: value mentioned is connection after ball valves. Connection at unit is G1 1/2 female.","(8) - Water circuit piping connections: value mentioned is connection after ball valves. Connection at unit is G1 1/2 female.","(8) - Water circuit piping connections: value mentioned is connection after ball valves. Connection at unit is G1 1/2 female.","(8) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(8) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(8) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(8) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(8) - 15°C-25°C: BUH only, no heat pump operation = during commissioning","(8) - 15°C-25°C: BUH only, no heat pump operation = during commissioning"]
["","","","","","(9) - DB/WB 7°C/6°C - LWC 35°C (DT=5°C), medium pump speed","(9) - DB/WB 7°C/6°C - LWC 35°C (DT=5°C), medium pump speed","(9) - DB/WB 7°C/6°C - LWC 35°C (DT=5°C), medium pump speed","(9) - DB/WB 7°C/6°C - LWC 35°C (DT=5°C), medium pump speed","(9) - DB/WB 7°C/6°C - LWC 35°C (DT=5°C), medium pump speed","(9) - DB/WB 7°C/6°C - LWC 35°C (DT=5°C), medium pump speed","(9) - Including piping + PHE + back-up heater; excluding expansion vessel","(9) - Including piping + PHE + back-up heater; excluding expansion vessel","(9) - Including piping + PHE + back-up heater; excluding expansion vessel","(9) - Including piping + PHE + back-up heater; excluding expansion vessel","(9) - Including piping + PHE + back-up heater; excluding expansion vessel","(9) - Including piping + PHE + back-up heater; excluding expansion vessel"]
["","","","","","(10) - See separate drawing for operation range","(10) - See separate drawing for operation range","(10) - See separate drawing for operation range","(10) - See separate drawing for operation range","(10) - See separate drawing for operation range","(10) - See separate drawing for operation range","(10) - See operation range drawing for difference between single & three phase units","(10) - See operation range drawing for difference between single & three phase units","(10) - See operation range drawing for difference between single & three phase units","(10) - See operation range drawing for difference between single & three phase units","(10) - See operation range drawing for difference between single & three phase units","(10) - See operation range drawing for difference between single & three phase units"]
["","","","","","(11) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(11) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(11) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(11) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(11) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(11) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(11) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(11) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(11) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(11) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(11) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply.","(11) - Above mentioned power supply of the hydrobox is for the backup heater only. The switch box and the pump of the hydrobox are supplied via the outdoor unit. The optional domestic hot water tank has a separate power supply."]
["","","","","","(12) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(12) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(12) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(12) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(12) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(12) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(12) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(12) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(12) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(12) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(12) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step.","(12) - Optional electric heater has 2 capacity steps except for the 3V3 model which has only 1 capacity step."]
["","","","","","(13) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(13) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(13) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(13) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(13) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(13) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(13) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(13) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(13) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(13) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(13) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax","(13) - In accordance with EN/IEC 61000-3-11, it may be necessary to consult the distribution network operator to ensure that the equipment is connected only to a supply with Zsys (system impedance) ≤ Zmax"]
["","","","","","(14) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(14) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(14) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(14) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(14) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(14) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(14) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(14) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(14) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(14) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(14) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase","(14) - Equipment complying with EN/IEC 61000-3-12: European/international technical standard setting the limits for harmonic currents produced by equipment connected to public low-voltage system with input current > 16A and ≤ 75A per phase"]
["","","","","","(15) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(15) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(15) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(15) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(15) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(15) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(15) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(15) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(15) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(15) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(15) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A","(15) - EN/IEC 61000-3-11: European/international technical standard setting the limits for voltage changes, voltage fluctuations and flicker in public low-voltage supply systems for equipment with rated ≤ 75A"]
["","","","","","(16) - PED unit category: Art3§3: excluded from scope of PED due to article 1, item 3.6 of 97/23/EC","(16) - PED unit category: Art3§3: excluded from scope of PED due to article 1, item 3.6 of 97/23/EC","(16) - PED unit category: Art3§3: excluded from scope of PED due to article 1, item 3.6 of 97/23/EC","(16) - PED unit category: Art3§3: excluded from scope of PED due to article 1, item 3.6 of 97/23/EC","(16) - PED unit category: Art3§3: excluded from scope of PED due to article 1, item 3.6 of 97/23/EC","(16) - PED unit category: Art3§3: excluded from scope of PED due to article 1, item 3.6 of 97/23/EC","(16) - PED unit category: Art3§3: excluded from scope of PED due to article 1, item 3.6 of 97/23/EC","(16) - PED unit category: Art3§3: excluded from scope of PED due to article 1, item 3.6 of 97/23/EC","(16) - PED unit category: Art3§3: excluded from scope of PED due to article 1, item 3.6 of 97/23/EC","(16) - PED unit category: Art3§3: excluded from scope of PED due to article 1, item 3.6 of 97/23/EC","(16) - PED unit category: Art3§3: excluded from scope of PED due to article 1, item 3.6 of 97/23/EC","(16) - PED unit category: Art3§3: excluded from scope of PED due to article 1, item 3.6 of 97/23/EC"]